## Slide 1: ESP32-Based Temperature and Humidity Monitoring System For Hospital Medicines Store
NAME: Aogon Francis
Reg. No.: 24/U/0282/GIM/PS
EMBEDED SYSTEMS

## Slide 2: Introduction
Medicines like insulin and vaccines are sensitive to environmental conditions.
Improper storage compromises efficacy and patient safety.
ESP32 offers a low-cost, real-time monitoring solution.

## Slide 3: Challenges in Hospital Medicine Stores
No real-time monitoring of temperature and humidity.
Lack of automatic alerts on threshold breaches.
Manual logging is error-prone.
Non-compliance with regulations.
Spoilage of critical medicines.

## Slide 4: Project Objective
Monitor temperature and humidity using ESP32 + DHT11.
Display readings on a web dashboard + serial monitor.
Make alarm when thresholds are exceeded.
Turn on the Air-conditioner when thresholds are exceeded

## Slide 5: Core Components
ESP32 Microcontroller - central unit with Wi-Fi.
DHT22 Sensor - accurate temperature and humidity sensor.
OLED Display - optional for local monitoring.
Wi-Fi module - for transmitting data.
Power Supply - USB or battery (5 volts).
Buzzer
RED LED

## Slide 6: Software Design
Firmware developed in Arduino IDE.
Libraries: DHT.h, WiFi.h, ESPAsyncWebServer.h.
Dashboard: HTML, CSS, JS.

## Slide 7: System Workflow
ESP32 initializes and connects to Wi-Fi.
Reads DHT11 data every few seconds.
Displays on OLED and web dashboard.
Triggers alerts if thresholds exceeded.
Triggers alarm on Buzzer and Red LED

## Slide 8: Optional Enhancements
Battery backup for power outages.
Multiple sensors using I2C or multiple ESP32s.
Integration with hospital database.
Remote access via cloud or port forwarding.
SMS / Email Alerts
Logging of Readings for future Audit

## Slide 9: Impact and Benefits
Ensures drug safety and quality.
Supports regulatory compliance.
Real-time alerts prevent spoilage.
Reduces costs due to wasted medicine.
Scalable across departments or facilities.

## Slide 10: Conclusion
ESP32 system addresses storage monitoring issues.
Provides accurate, timely alerts and logs.
Affordable, efficient, and scalable solution.
A vital tool for hospital medicine safety.